## Tags
Sl.No | Tags_Description | Tag Unit
1 | Gas pressure at skid inlet | kg/cm2
2 | Excitation voltage Ue | V
3 | Exhaust temp. cyl. 1 | °C
4 | Exhaust temp. cyl. 2 | °C
5 | Exhaust temp. cyl. 3 | °C
6 | Exhaust temp. cyl. 4 | °C
7 | Exhaust temp. cyl. 5 | °C
8 | Exhaust temp. cyl. 6 | °C
9 | Exhaust temp. cyl. 7 | °C
10 | Exhaust temp. cyl. 8 | °C
11 | Exhaust temp. cyl. 9 | °C
12 | Exhaust temp. cyl. 10 | °C
13 | Exhaust temp. cyl. 11 | °C
14 | Exhaust temp. cyl. 12 | °C
15 | Generator bearing A temperature | °C
16 | Generator bearing B temperature | °C
17 | Jacket water temperature | °C
18 | Jacket water pressure | bar
19 | Engine oil temperature | °C
20 | Oil pressure | bar
21 | Mixture temperature | °C
22 | Boost pressure | bar
23 | Fuel gas volume controller setting, λ
24 | Throttle valve | %
25 | Compressor bypass position | %
26 | Exhaust gas temperature average | °C
27 | Ambient air temperature | °C
28 | Engine RPM | sec-1
29 | LT accumulators pressure | bar
30 | Starter Air pressure | bar
31 | Filter DP | kPa
32 | Lube oil level check | %
33 | HT accumulator pressure | bar
34 | Fresh LO tank level | %
35 | CW tank level | %
36 | Electrical power P | KW